Review Form

| Article Number: JDOH-3052 | Author Name Alageel Omar |  |
| --- | --- | --- |
| Accept | - Minor Revision | Major Revision |
| Reject | Re-revision | Poor Quality |
| Title: Evaluation of the Accuracy of Transferring Copings for Dental Implants Using Different Impression Techniques General Comments from Reviewer: - The presented study is intended to be an in vitro study to evaluate accuracy of full-arch impressions over 4 implants with different impression techniques regarding conditioning or not the impression copings. Although the proposed objectives were attained, the article is approached lightly, without further interpretation of the obtained results. It is this referee belief that some changes are needed before considering the manuscript for publication Introduction: - Line 31, “for fabricating dental prosthesis” is diminutive of what is possible to obtain with dental impressions. Line 64-68, the article cited is regarding single unit impressions, while the manuscript is referring multi implant impressions please clarify. Methods: - To ensure clarity and precision, the specific material employed in the measuring device should be specified, followed by an explanation of the rationale for its selection and its corresponding accuracy of measurement. Additionally, images of the various impression methods shall be provided for a comprehensive understanding. Discussions: - The splinted group was sectioned and rejoined with resin, but in line 91 referred as being used prefabricated bars. Please clarify if even though the bars were premade, if they were still sectioned. The obtained results were not discussed regarding clinical implications. Please, provide further assessment. The discussion is a bit too extensive and should address the previously stated hypothesis, discussion of obtained results, internal and external validation. The article can be published after minor revision. |  |  |